## Sheet1
Test of Grasshopper 3 cameras readout time as a function of Format7 mode and pixel format
Tested under following conditions
Using SIS3820 to generate triggers in internal channel advance mode.
ConvertPixelFormat was used to convert Mono12 pixel format to Mono16, and Raw12 to Raw16
IDL script is /corvette/idl_user/detectors/test_point_grey.pro (not used in most recent measurements, done manually)
100 microsecond exposure
Grasshopper 3 GS3-U3-23S6M-C
Format 7 mode | Pixel format | Measured readout time (ms) | Manufacturer value (from specified frames/s)
0 (1920x1200) | Raw8 | 6.2 | 6.135
| Raw12 | 9.2 | 9.0909
| Raw16 | 12.2 | 12.1951
| Mono8 | 11.5 | 11.4943
| Mono12 | 11.5 | 11.4943
| Mono16 | 12.2 | 12.1951
1 (960x600) | Raw8 | 6.2 | 6.135
| Raw12 | 6.2 | 6.135
| Raw16 | 6.2 | 6.135
| Mono8 | 11.5 | 11.4943
| Mono12 | 11.5 | 11.4943
| Mono16 | 11.5 | 11.4943
7 (1920x1200) | Raw8 | 7.9 | 7.8125
| Raw12 | 9.2 | 9.0909
| Raw16 | 12.2 | 12.1951
| Mono8 | 11.5 | 11.4943
| Mono12 | 11.5 | 11.4943
| Mono16 | 12.2 | 12.1951
Grasshopper 3 GS3-U3-28S5M-C
0 (1920x1440) | Mono8 | 38.2 | 38.4615
| Mono12 | 38.2 | 38.4615
| Raw16 | 38.2 | 38.4615
| Mono16 | 38.2 | 38.4615
1 (960x720) | Mono8 | 24 | 23.8095
| Mono12 | 24 | 23.8095
| Raw16 | 24 | 23.8095
| Mono16 | 24 | 23.8095
5 (480x360) | Mono8 | 16.2 | 16.129
| Mono12 | 16.2 | 16.129
| Raw16 | 16.2 | 16.129
| Mono16 | 16.2 | 16.129
7 (1920x1440) | Mono8 | 59 | 66.6667 | Don't use, this is just single-tap readout with no improvement in quality
| Mono12 | 59 | 66.6667
| Raw16 | 59 | 66.6667
| Mono16 | 59 | 66.6667
Grasshopper 3 GS3-U3-51S5M-C
0 (2448x2048) | Raw8 | 13.3 | 13.3333
| Mono8 | 25.8 | 25.641
| Raw12 | 20 | 20
| Mono12 | 25.8 | 25.641
| Raw16 | 26.4 | 26.3158
| Mono16 | 26.5 | 26.3158
1 (1224x1024) | Raw8 | 6.7 | 6.6225
| Mono8 | 13.3 | 13.1579
| Raw16 | 6.75 | 6.6225
| Mono16 | 13.3 | 13.1579
2 (1224x1024) | Raw8 | 4.74 | 4.717
| Mono8 | 6.54 | 6.6225
| Raw16 | 6.54 | 6.6225
| Mono16 | 6.54 | 6.6225
7 (2448x2048) | Raw8 | 14.8 | 14.4928
| Mono8 | 25.8 | 25.641
| Raw12 | 20 | 20
| Mono12 | 25.8 | 26.3158
| Raw16 | 26.5 | 26.3158
| Mono16 | 26.6 | 26.3158